MEADOW LAKE AIRPORT FACILITIES REPORT

8 July 2008

Ron Lee

Items to be discussed

1)  Airport lights

2)  Pavement Assessment

3)  Repaint Runway Markings

4)  Repaint segmented circle/traffic pattern indicator

5)  Fencing repair

6)  Cessna Drive gate

1)  Airport Lights 
a.
53 of 60 runway lights are operational.

b.
15 of 16 threshold lights are operational.

c.
~184 of 198 (may be 201) taxiway lights are operational.

d.
5 of 7 runway entrance signs are operational.

e.  
Runway 33 PAPI system returned to service during Dana Hartshorn (ADG) visit in June.

[image: image1.wmf]Runway Light Status

0

10

20

30

40

50

60

70

80

90

100

6/10/2008

6/15/2008

6/20/2008

6/25/2008

6/30/2008

7/5/2008

Date

Percentage Operational

Runway

lights (60)

Taxiway

lights (198)

Threshold

lights (16)

Runway

entrance

signs (7)

Operational capability is charted in Figure 1 below

Figure 1:  Runway Lighting System Operational Capability

1)  Airport Lights: (continued):  Awaiting light assemblies and transformers to improve operational capability.

Possible problem if no source is found for “eared” globes.  May have to buy a new light head assembly instead of the cheaper globe.

Objective:  100% threshold and runway light operational status within two months.  Greater than 95% taxiway light operational status within two months.

2)  Pavement Assessment:  Avery has made at least two trips to assess paving/crack sealing needs.  The CDoT Pavement Condition Inspection is scheduled around 14-21 August.

3)  Repaint Runway 15 Markings:  The runway markings have degraded since the resealing in 2006.  Restoring them to like-new condition will provide an immediate positive first impression for arriving pilots and eliminate the poor visibility of the markings.  Painting is not subsidized by grants.  Considered normal maintenance by CDoT.

PROPOSAL/Motion :  Use volunteers to repaint the Rwy 15 numbers and touchdown lines as a test case.  Use Diamond Vogel UC-1501 white paint ($10.61/gallon) and Type I reflective bubbles ($45 per 50 pound bag).  Total area around 4100 sq ft.  Applied at 60 sq ft/gallon is 68 gallons ($772) plus 350 pounds of bubbles ($337).  Add painting supplies and drinking water/ice.  Estimated worst case cost is around $1300 (allows for additional paint if needed).

4)  Repaint segmented circle/traffic pattern indicator:  Completed on 22 June 2008.  Thanks to Dave Petri for power washing the concrete pads.

5)  Fencing repair:   Three areas exist that need to be repaired may be on MLAA property.  Waiting to see if the cattle grazing operation repairs those areas.

Motion:  The MLAA Board President will send a letter to the Falcon Fire Department to see if a gated access point along Falcon Highway would aid firefighting efforts for fires that originate on or threaten to enter MLAA property.

6)  Cessna Drive gate:  Motion to add to CIP with objective implementation not later than CY2009
� EMBED Unknown  ���








PAGE  
2

[image: image2.wmf]Runway Light Status

0

10

20

30

40

50

60

70

80

90

100

6/10/2008

6/15/2008

6/20/2008

6/25/2008

6/30/2008

7/5/2008

Date

Percentage Operational

Runway

lights (60)

Taxiway

lights (198)

Threshold

lights (16)

Runway

entrance

signs (7)

_1276884248.xls
Chart2

		39609		39609		39609		39609

		39610		39610		39610		39610

		39614		39614		39614		39614

		39616		39616		39616		39616

		39619		39619		39619		39619

		39624		39624		39624		39624

		39632		39632		39632		39632



Runway lights (60)

Taxiway lights (198)

Threshold lights (16)

Runway entrance signs (7)

Date

Percentage Operational

Runway Light Status

61.7

66.2

56.25

14.3

75

84.8

56.25

14.3

85

87.9

75

14.3

88.3

87.9

81.25

14.3

88.3

88.9

87.5

28.6

88.3

92.9

87.5

71.4

88.3

92.9

93.75

71.4



Sheet1

				Runway lights out		Taxiway lights out		Threshold lights out		Rwy entrance signs out		Runway lights (60)		Taxiway lights (198)		Threshold lights (16)		Runway entrance signs (7)

		10-Jun-08		23		66		7		6		61.7		66.2		56.25		14.3

		11-Jun-08		15		36		7		6		75		84.8		56.25		14.3

		15-Jun-08		9		24		4		6		85		87.9		75		14.3

		17-Jun-08		7		24		3		6		88.3		87.9		81.25		14.3

		20-Jun-08		7		22		2		5		88.3		88.9		87.5		28.6

		25-Jun-08		7		14		2		2		88.3		92.9		87.5		71.4

		3-Jul-08		7		14		1		2		88.3		92.9		93.75		71.4

		15-Jul-08

		30-Jul-08

		31-Aug-08

				Assumed 198 Taxiway, 60 runway and 18 REIL lights





Sheet1

		



Runway lights (60)

Taxiway lights (198)

Threshold lights (16)

Runway entrance signs (7)

Date

Percentage Operational

Runway Light Status



Sheet2

		





Sheet3

		






